## Sheet1
Point | Topic | Letter | Information item requested from Transmission System Operators (TSOs) (units) | Starting data delivery date | Resolution | Note
1 | Monitoring the efficiency of bidding zones
1.1 |  | Application of redispatching, countertrading and curtailments
Countertrading
|  | a | General: Begin date and time | 2017-01-01 | occurrence/event | I.
|  | b | General: End date and time | 2017-01-01 | occurrence/event | I.
|  | c | Action taken (cross-zonal exchange increase/decrease) | 2017-01-01 | occurrence/event | I.
|  | d | The bidding zones concerned | 2017-01-01 | occurrence/event | I.
|  | e | Reason for the action | 2017-01-01 | occurrence/event | I.
|  | f | Average change in cross-zonal exchange (between begin and end time) (MW) | 2017-01-01 | occurrence/event | I.
|  | g | Cost incurred in a given month from countertrading (€) | 2017-01-01 | monthly | I.
Redispatching
|  | a | General: Begin date and time | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | b | General: End date and time | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | c | Action taken (production increase/decrease, load increase/decrease) | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | d | Identification of network elements concerned by the action | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | e | Type of network elements | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | f | Location of network elements | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | g | Reason for the action | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | h | Capacity affected by the action taken (average generation/load increase/decrease between begin and end time) (MW) | 2017-01-01 | occurrence/event | II./VIII./IX./X.
|  | i | Cost incurred in a given month from redispatching (€) | 2017-01-01 | monthly | II./VIII./IX./X.
Curtailment
|  | a | General: Begin date and time | 2017-01-01 | occurrence/event | III./VIII./IX./X.
|  | b | General: End date and time | 2017-01-01 | occurrence/event | III./VIII./IX./X.
|  | d | The bidding zone border | 2017-01-01 | occurrence/event | III./VIII./IX./X.
|  | e | Reason for the action | 2017-01-01 | occurrence/event | III./VIII./IX./X.
|  | f | Reduction in cross-zonal capacity (average reduction between begin and end time) (MW) | 2017-01-01 | occurrence/event | III./VIII./IX./X.
|  | g | Compensation/reimbursement paid by TSO in a given month from curtailment (€) | 2017-01-01 | monthly | III./VIII./IX./X.
1.2 | Power flows that do not result from the capacity allocation mechanism
|  | a | Allocated flow for all interconnectors (separately) on all BZ borders | 2017-01-01 | market time unit | IV.1/IX./X.
|  | b | Power transfer distribution factors (PTDF) for interconnectors (separately) for all BZ borders | 2017-01-01 | market time unit | IV.1/IX./X.
2 | Monitoring the efficiency of capacity calculation
2.1 |  | Applied capacity calculation methods
|  | a | General: capacity calculation region (CCR) | 01/07/2017 * | yearly
|  | b | General: BZ border | 01/07/2017 * | yearly
|  | c | General: Capacity calculation approach flow based allocation (FBA) or coordinated net transfer capacity (CNTC) | 01/07/2017 * | yearly
|  | d | General: Frequency of ID capacity recalculation and the corresponding times. | 01/07/2017 * | yearly
2.2 | Capacity calculation process and results
CNTC
|  | a | General: Capacity calculation region | 01/07/2017 * | market time unit
|  | b | General: Capacity calculation market time unit (date, hour) | 01/07/2017 * | market time unit
|  | c | General: Capacity calculation timeframe (DA, ID) | 01/07/2017 * | market time unit
|  | d | General: bidding zone (BZ) border | 01/07/2017 * | market time unit
|  | e | General: Critical Network Element & Contingency (CNECO) (Name of critical network element Node 1 Location Node 2 Location Name of contingency) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | f | For BZ border: Maximum Flow for each interconnector (MW) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | g | For BZ border: Maximum Flow on all interconnectors together taking into account the most significant contingency (MW) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | h | For BZ border: Maximum power exchange on the BZ border(MW), Article 29(8)(a) | 01/07/2017 * | market time unit
|  | i | For BZ border: Maximum power exchange (MW), Article 29(8)(b) | 01/07/2017 * | market time unit
|  | j | For BZ border: Maximum power exchange (MW), Article 29(8)(c) | 01/07/2017 * | market time unit
|  | k | For BZ border: Previously allocated cross zonal capacity (MW), Article 29(8)(e) | 01/07/2017 * | market time unit
|  | l | For BZ border: Reliability margin (MW), Article 22(5) | 01/07/2017 * | market time unit
|  | m | For BZ border: Cross-Zonal Capacity (MW), Article 29(8)(e) | 01/07/2017 * | market time unit
|  | n | For BZ border / CNECO: The impact of power exchange on the flow on the critical network element (PTDF), Article 29(3)(a) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | o | For CNECO: Maximum Flow (MW) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | p | For CNECO: Flow from previously allocated capacities on other BZ borders in the CCR (MW) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | q | For CNECO: Flow from previously allocated capacity (MW), Article 29(7)(c) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | r | For CNECO: Base case flow (flow with zero exchanges in CCR) (MW) and | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | s | For CNECO: Flow reserved for cross-zonal capacity on other BZ borders in CCR (MW), Article 21(1)(b)(iv). | 01/07/2017 * | market time unit | IV.2/IX./X.
FBA
|  | a | General: Capacity calculation region | 01/07/2017 * | market time unit
|  | b | General: Capacity calculation market time unit (date, hour) | 01/07/2017 * | market time unit
|  | c | General: Capacity calculation timeframe (DA, ID) | 01/07/2017 * | market time unit
|  | d | General: CNECO (Name of critical network element Node 1 Location Node 2 Location Name of contingency) | 01/07/2017 * | market time unit
|  | e | For CNECO: Maximum Flow (MW), Article 29(7)(a) | 01/07/2017 * | market time unit
|  | f | For CNECO: Flow from previously allocated capacity (MW), Article 29(7)(c) | 01/07/2017 * | market time unit
|  | g | For CNECO: Base case flow (MW), Article 29(7)(d) | 01/07/2017 * | market time unit
|  | h | For CNECO: Reliability margin, Article 22(5) | 01/07/2017 * | market time unit
|  | i | For CNECO: Available margin (MW), Article 29(7)(e) | 01/07/2017 * | market time unit
|  | j | For CNECO: Available margin (MW), Article 29(7)(f) and | 01/07/2017 * | market time unit
|  | k | For BZ / CBCO: PTDFs for all BZs in CCR | 01/07/2017 * | market time unit
2.3 | Utilisation of the network
CNTC
|  | a | For CNECO: Binding constraint in defining cross-zonal capacity (YES/NO) | 01/07/2017 * | market time unit | IV.2/IX./X.
|  | b | For CNECO: Calculated realised physical flow in real time (MW) | 01/07/2017 * | market time unit | IV.2/IX./X.
FBA
|  | a | For CNECO: Shadow price of critical branches (€/MW) | 01/07/2017 * | market time unit | ENTSO-E TBC
|  | b | For CNECO: Calculated realised physical flow in real time (MW). | 01/07/2017 * | market time unit | IV.2/IX./X.
3 | Monitoring the efficiency of DA cross-zonal capacity allocation
3.1 |  | Level of efficiency in the use of CB capacity in the DA timeframe
|  | a | Long-term scheduled commercial exchanges from explicit allocations | 2017-01-01 | market time unit | V./IX./X.
|  | b | Day ahead scheduled commercial exchanges from explicit and implicit allocations | 2017-01-01 | market time unit | V./IX./X.
|  | c | For every market time unit (on borders with NTC-based capacity calculation), the forecasted DA NTC (MW) per direction between scheduling areas including technical profiles. | 2017-01-01 | market time unit
3.2 |  | Incremental social welfare
|  | b | Applied loss factor on the relevant interconnectors (i.e. interconnections, where loss factor is applied) | 2017-01-01 | market time unit (annually if one factor is used)
|  | c | Actual network losses on the relevant interconnectors (i.e. interconnections, where loss factor is applied). | 2017-01-01 | same resolution as in 4.2.b
4 | Monitoring the efficiency of ID cross-zonal capacity allocation
4.2 |  | ID market adequacy to integrate RES
|  | b | DA wind and solar forecast: For every market time unit, the forecast of wind and solar power generation (MW) per BZ, per each market time unit of the following day. | 2017-01-01 | market time unit | V./IX./X. ENTSO-E TBC
4.4 |  | Level of efficiency in the use of ID CB capacity
|  | a | Total scheduled commercial exchanges from explicit and implicit allocations at the end of the last ID nomination process. | 2017-01-01 | market time unit | V./IX./X.
5 | Monitoring the impact of all NCs/Regulations on the high-level policy goals
5.2 |  | Measuring effective competition
|  | a | For every bidding area, generation capacity and corresponding energy identification code (EIC) per generation unit. The data should be provided for generation units with more than 100 MW of installed capacity | 2017-01-01 | annually | I.
|  | b | For every bidding area with 'relevant' penetration level of renewable-based generation, generation capacity and EIC codes per generation unit (for generation units above a threshold to be defined) | 2017-01-01 | annually | VI./IX./X.
Point | Topic | Letter | Information item requested from non-TSO entities (units) | Starting data delivery date | Resolution | Note
3.2 |  | Incremental social welfare
|  | a | Shadow prices of all constraints in flow based market coupling (FBMC) except of those already reported in 3.3 a For every market time unit, the shadow price per constraint | 2017-01-01 | market time unit | VII./IX./X.
3.3 |  | Efficiency of the single price MC algorithm
|  | a | Amount (volumes) of paradoxically rejected bids, per market time unit. | 2017-01-01 | market time unit | VII./IX./X.
4.1 |  | ID liquidity
|  | a | Bid-ask spread per BZ: For every market time unit the average bid-ask spread during the trading period, only for continuous trading | 2017-01-01 | market time unit | VII./IX./X.
4.2 |  | ID market adequacy to integrate RES
|  | a | Volumes for the different products traded (e.g. hourly, 15-minutes) and differentiating continuous and auction-based trade | 2017-01-01 | market time unit | VII./IX./X.
|  | c | Calculated value: ID volumes according to time to delivery | 2017-01-01 | monthly | VII./IX./X.
4.3 |  | ID markets integration
|  | a | ID prices: Volume-weighted average price of all ID trades during the hour before gate closure time (GCT), or ID price of the last session in the case of ID trading | 2017-01-01 | market time unit | VII./IX./X.
5.3 |  | Measuring efficient market functioning
|  | a | Social welfare indicator, compared to the "zero scenario". | 2017-01-01 | market time unit | VII./IX./X.
|  | * | Date of delivery to be aligned with establishment of Coordinated Capacity Calculators (CCCs).
|  | I. | Information item can be delivered through the Transparency Platform as currently reported.
|  | II. | Information item could be delivered through the Transparency Platform if all types of internal and cross-border redispatching are reported. Currently the underlying definitions in the Transparency Platform merely envisage to report on redispatching when cross-border capacity is affected.
|  | III. | Information item could be delivered through the Transparency Platform but it would require to add a new data item in that platform, because the definition of curtailments do not match with any of the information items envisaged in the Transparency Regulation.
|  | IV.1 | Request is clear, but further discussion is needed for ENTSO-E about the scope of the information item (e.g. limitation to what is in ENTSO-E's report), the delivery date and the resolution, as ENTSO-E has concerns about the proportionality of the request.
|  | IV.2 | Request is clear, but further discussion is needed for ENTSO-E about the scope of the information item (e.g. need to discuss alternative proposal to reach same results with data available; alternative proposal to be made by ENTSO-E), the delivery date and the resolution, as ENTSO-E has concerns about the proportionality of the request.
|  | V. | Information item can be provided through the Transparency Platform, but either TSOs (item 3.1 a and 4.4 a) or ENTSO-E (3.1 b, 4.2 b and 4.4 a) do not currently have a technical solution to provide this information item. For ENTSO-E, the issues are related to information that is overwritten in the ENTSO-E Transparency Platform.
|  | VI. | Reporting thresholds (MW) to be discussed. Additionally this information item may require a request to certain non-TSO entities.
|  | VII. | ACER is to consult with National Regulatory Agencies in order to identify which non-TSO entities are to be requested to deliver this information item. ENTSO-E has concerns about the costs involved, efficiency and confidentiality issues of data to be collected from non-TSO entities.
|  | VIII. | ENTSO-E may have alternative options (other than the Transparency Platform) to deliver this information and hence further discussion is needed.
|  | IX. | ENTSO-E has concerns that TSOs and or ENTSO-E may be faced with substantial additional costs to deliver this information item.
|  | X. | Delivery date is acording to ENTSO-E provisional and subject to ENTSO-E's feedback. According to ENTSO-E all pending issues - as per the above notes - need to be fully resolved before data collection can commence. ACER stated that this list is shared well in advance of the indicated data delivery exactly for the purpose to prepare the data collection.