## TYNDP 2014- PCIs transmission
TYNDP 2014 - Project of Common Interest (PCI) assessment (31 October 2014)
|  | all visions | Vision 1 |  |  |  | Vision 2 | Vision 2 | Vision 2 | Vision 2 | Vision 3 | Vision 3 | Vision 3 | Vision 3 | Vision 4 | Vision 4 | Vision 4 | Vision 4 | all visions | all visions | all visions | all visions | Comments
Project PCI Nr. | Definition | GTC / investment | SEW Meuros/yr | CO2 kT/yr | RES MW or MWh | Losses MWh/yr | SEW Meuros/yr | CO2 kT/yr | RES MW or MWh | Losses MWh/yr | SEW Meuros/yr | CO2 kT/yr | RES MW or MWh | Losses MWh/yr | SEW Meuros/yr | CO2 kT/yr | RES MW or MWh | Losses MWh/yr | B6 - Resilience | B7 - Flexibility | S1 - "environmental impact" | S2 - "social impact"
1.1 | Cluster Belgium – United Kingdom between Zeebrugge and Canterbury [currently known as the NEMO project] including the following PCIs:
| 1.1.1 Interconnection between Zeebrugge (BE) and the vicinity of Richborough (UK) | 1000 | [32;74] | [180;220] | [220000;270000] MWh | [410000;420000] | [20;30] | [160;190] | [50000;61000] MWh | [370000;460000] | [200;280] | [-1300;-1400] | [1800000;2200000] MWh | [1900000;2300000] | [240;280] | [-1700;-1400] | [1100000;1400000] MWh | [190000;230000] | 2 | 5 | Negligeable or less than 15km | Negligeable or less than 15km
| 1.1.2 Internal line between the vicinity of Richborough and Canterbury (UK) | 1000 | [32;74] | [180;220] | [220000;270000] MWh | [410000;420000] | [20;30] | [160;190] | [50000;61000] MWh | [370000;460000] | [200;280] | [-1300;-1400] | [1800000;2200000] MWh | [1900000;2300000] | [240;280] | [-1700;-1400] | [1100000;1400000] MWh | [190000;230000] | 2 | 5 | Negligeable or less than 15km | NA
| 1.1.3 Internal line between Dungeness to Sellindge and Sellindge to Canterbury (UK) | 400 | [19;23] | [73;89] | [88000;110000] MWh | [150000;180000] | [9;11] | [63;77] | [20000;24000] MWh | [150000;180000] | [85;100] | [-600;-490] | [730000;890000] MWh | [740000;910000] | [94;110] | [-700;-570] | [450000;550000] MWh | [74000;91000] | 1 | 3 | Negligeable or less than 15km | NA
1.2 | PCI Belgium – two grid-ready offshore hubs connected to the onshore substation Zeebrugge (BE) with anticipatory investments enabling future interconnections with France and/or UK | 1835 | [390;490] | [-4100;-3300] | 1800 MW | [27000;33000] | [420;490] | [-3400;-2700] | 1800 MW | [27000;33000] | [510;520] | [-2600;-2100] | 1800 MW | [27000;33000] | [330;460] | [-2000;-1600] | 1800 MW | [27000;33000] | 2 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
1.3 | Cluster Denmark - Germany between Endrup and Brunsbüttel including the following PCIs:
| 1.3.1 Interconnection between Endrup (DK) and Niebüll (DE) | 500 | [0;10] | [-88;-72] | [14000;17000] MWh | [-11000;-9000] | [4;5] | [-22;-18] | [14000;17000] MWh | [-11000;-9000] | [20;60] | [-440;-360] | [120000;140000] MWh | [-12000;-9900] | [80;100] | [-830;-680] | [260000;310000] MWh | [-12000;-9600] | 2 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 1.3.2 Internal line between Brunsbűttel and Niebűll (DE) | 2014 | [59;72] | [-260;-210] | [520000;640000] MWh | [-710000;-580000] | [53;65] | [18;22] | [510000;620000] MWh | [-740000;-600000] | [230;280] | [-1200;-1000] | [1500000;1800000] MWh | [-880000;-720000] | [340;420] | [-2000;-1700] | [2300000;2800000] MWh | [-1100000;-890000] | 2 | 5 | Negligeable or less than 15km | Negligeable or less than 15km
1.4 | Cluster Denmark - Germany between Kasső and Dollern including the following PCIs:
| 1.4.1 Interconnection between Kasső (DK) and Audorf (DE) | 720 | [10;30] | [-120;-94] | [54000;66000] MWh | [-46000;-38000] | [0;10] | [-38;-31] | [110000;130000] MWh | [32000;39000] | [35;95] | [-680;-560] | [190000;230000] MWh | [50000;62000] | [120;150] | [-1300;-1000] | [370000;460000] MWh | [51000;62000] | 3 | 3 | 15-50km | 15-25km
| 1.4.2 Internal line between Audorf and Hamburg/Nord (DE) | 2410 | [70;86] | [-310;-250] | [630000;760000] MWh | [-850000;-700000] | [63;77] | [22;26] | [610000;740000] MWh | [-880000;-720000] | [270;340] | [-1500;-1200] | [1800000;2200000] MWh | [-1100000;-860000] | [410;500] | [-2400;-2000] | [2800000;3400000] MWh | [-1300000;-1100000] | 1 | 5 | Negligeable or less than 15km | Negligeable or less than 15km
| 1.4.3 Internal line between Hamburg/Nord and Dollern (DE) | 2008 | [58;71] | [-260;-210] | [520000;640000] MWh | [-710000;-580000] | [53;64] | [18;22] | [510000;620000] MWh | [-740000;-600000] | [230;280] | [-1200;-1000] | [1500000;1800000] MWh | [-880000;-720000] | [340;410] | [-2000;-1700] | [2300000;2800000] MWh | [-1100000;-890000] | 1 | 5 | Negligeable or less than 15km | Negligeable or less than 15km
1.5 | PCI Denmark - Netherlands interconnection between Endrup (DK) and Eemshaven (NL) | 700 | [5;25] | [-120;-94] | [45000;55000] MWh | [44000;54000] | [0;10] | [-44;-36] | [27000;33000] MWh | [44000;54000] | [25;85] | [-560;-460] | [180000;220000] MWh | [110000;130000] | [100;150] | [-920;-760] | [350000;420000] MWh | [110000;130000] | 3 | 3 | 15-50km | Negligeable or less than 15km
1.6 | PCI France – Ireland interconnection between La Martyre (FR) and Great Island or Knockraha (IE) | 700 | [30;70] | [63;77] | [270000;320000] MWh | [200000;300000] | [20;30] | [-33;-27] | [170000;200000] MWh | [200000;300000] | [140;170] | [-970;-790] | [1300000;1600000] MWh | [170000;270000] | [150;200] | [-920;-760] | [1500000;1800000] MWh | [170000;270000] | 1 | 4 | NA | NA
1.7 | Cluster France-United Kingdom interconnections, including one or more of the following PCIs:
| 1.7.1 France – United Kingdom interconnection between Cotentin (FR) and the vicinity of Exeter (UK) [currently known as FAB project] | 1400 | [40;100] | [260;310] | [300000;360000] MWh | [270000;340000] | [0;90] | [270;340] | [59000;72000] MWh | [270000;340000] | [230;350] | [-2000;-1600] | [2400000;2900000] MWh | [260000;320000] | [260;300] | [-1700;-1400] | [2100000;2500000] MWh | [260000;320000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 1.7.2 France - United Kingdom interconnection between Tourbe (FR) and Chilling (UK) [currently known as the IFA2 project] | 1000 | [35;75] | [170;210] | [230000;280000] MWh | [200000;240000] | [0;60] | [220;260] | [36000;44000] MWh | [200000;240000] | [170;250] | [-1400;-1200] | [1700000;2000000] MWh | [190000;240000] | [180;210] | [-1100;-940] | [1500000;1800000] MWh | [190000;240000] | 1 | 4 | 15-50km | Negligeable or less than 15km
| 1.7.3 France - United Kingdom interconnection between Coquelles (FR) and Folkestone (UK) [currently known as the ElecLink project] | 1000 | [35;75] | [170;210] | [230000;280000] MWh | [200000;240000] | [0;60] | [220;260] | [36000;44000] MWh | [200000;240000] | [170;250] | [-1400;-1200] | [1700000;2000000] MWh | [140000;170000] | [180;210] | [-1100;-940] | [1500000;1800000] MWh | [140000;170000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
1.8 | PCI Germany - Norway interconnection between Wilster (DE) and Tonstad (NO) [currently known as the NORD.LINK project] | 1400 | [120;140] | [-930;-760] | [510000;620000] MWh | [910000;1100000] | [65;110] | [-670;-550] | [950000;1200000] MWh | [910000;1100000] | [210;280] | [-2200;-1800] | [1500000;1800000] MWh | [910000;1100000] | [350;400] | [-3400;-2800] | [1700000;2100000] MWh | [910000;1100000] | 3 | 4 | NA | NA
1.9 | Cluster connecting generation from renewable energy sources in Ireland to United Kingdom, including one or more of the following PCIs:
| 1.9.1 Ireland – United Kingdom interconnection between Co. Offaly (IE), Pembroke and Pentir (UK) | 1500 | [510;660] | [-4500;-3700] | [7000000;8600000] MWh | [360000;440000] | [590;670] | [-4600;-3800] | [7200000;8800000] MWh | [360000;440000] | [420;640] | [-2400;-1900] | [5100000;6200000] MWh | [490000;600000] | [360;390] | [-1600;-1300] | [4200000;5200000] MWh | [490000;600000] | 6 | 4 | 15-50km | 15-25km
| 1.9.2 Ireland – United Kingdom interconnection between Coolkeragh - Coleraine hubs (IE) and Hunterston station, Islay, Argyll and Location COWFs (UK) | 1000 | [0;10] | [-30;-40] | [30000;40000] MWh | [180000;220000] | [0;10] | [-75;-95] | [9000;11000] | [180000;220000] | [30;40] | [-190;-160] | [180000;220000] | [270000;330000] | [45;55] | [-310;-250] | [400000;490000] MWh | [270000;330000] | 3 | 5 | NA | NA
| 1.9.3 Ireland – United Kingdom interconnection between the Northern hub, Dublin and Codling Bank (IE) and Trawsfynyd and Pembroke (UK) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The data of the project were not submitted to ENTSO-E, therefore no assessment has been made.
| 1.9.4 Ireland – United Kingdom interconnection between the Irish midlands and Pembroke (UK) | 1250 | [190;280] | [-1800;-1500] | [3000000;3500000] | 0 | [210;280] | [-1800;-1500] | [3000000;3500000] | 0 | [130;160] | [-600;-500] | [3000000;3500000] | 0 | [3;4] | [-400;-330] | [3000000;3500000] | 0 | 0 | 0 | NA | NA | The 2 KPI were not assessed
| 1.9.5 Ireland – United Kingdom interconnection between the Irish midlands and Alverdiscott, Devon (UK) | 2500 | [280;560] | [-3600;-3000] | [6000000;7000000] | 0 | [420;560] | [-3600;-3000] | [6000000;7000000] | 0 | [260;320] | [-1200;-1000] | [6000000;7000000] | 0 | [6;8] | [-800;-660] | [6000000;7000000] | 0 | 0 | 0 | NA | NA | The 2 KPI were not assessed
| 1.9.6 Ireland – United Kingdom interconnection between the Irish coast and Pembroke (UK) | 1250 | [190;280] | [-1800;-1500] | [3000000;3500000] | 0 | [210;280] | [-1800;-1500] | [3000000;3500000] | 0 | [130;160] | [-600;-500] | [3000000;3500000] | 0 | [3;4] | [-400;-330] | [3000000;3500000] | 0 | 0 | 0 | NA | NA | The 2 KPI were not assessed
1.10 | PCI Norway – United Kingdom interconnection
| Solution Norway - United Kingdom interconnection between Kvilldal (NO) and Blyth (UK) | 1400 | [150;220] | [-440;-360] | [1000000;1200000] MWh | [760000;930000] | [90;170] | [-240;-190] | [900000;1100000] MWh | [760000;930000] | [280;360] | [-2000;-1700] | [2700000;3300000] MWh | [760000;930000] | [280;300] | [-1800;-1500] | [2100000;2600000] MWh | [760000;930000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| Solution Norway - United Kingdom interconnection between Sima or Samnanger (NO) and Peterhead (UK) | 1400 | [150;220] | [-440;-360] | [1000000;1200000] MWh | [760000;930000] | [90;170] | [-240;-190] | [900000;1100000] MWh | [760000;930000] | [280;360] | [-2000;-1700] | [2700000;3300000] MWh | [760000;930000] | [280;300] | [-1800;-1500] | [2100000;2600000] MWh | [760000;930000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
1.11 | Cluster of electricity storage projects in Ireland and associated connections to United Kingdom, including one or more of the following PCIs:
| 1.11.2 PCI Ireland – United Kingdom interconnection between North West Ireland (IE) and Midlands (UK) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| 1.11.4 PCI Ireland – United Kingdom interconnection between Glinsk, Mayo (IE) and Connah's Quai, Deeside (UK) | 1500 | [290;400] | [-2800;-2300] | [190000;240000] MWh | 0 | [58;71] | [-2800;-2300] | [370000;380000] MWh | 0 | [200;240] | [-930;-760 | [1900000;2300000] MWh | 0 | [170;180] | [-580;-470] | [1700000;2100000] MWh | 0 | 0 | 0 | More than 100km | Negligeable or less than 15km | The 2 KPI were not assessed
2.1 | PCI Austria internal line between Westtirol and Zell-Ziller (AT) to increase capacity at the AT/DE border | 470 | [8.6;11] | [86;100] | 0 | [-73000;-60000] | [19;23] | [63;78] | 0 | [-68000;-55000] | [51;62] | [-250;-200] | [48000;59000] MWh | [-53000;-44000] | [70;86] | [-250;-210] | [110000;140000] MWh | [-56000;-46000] | 0 | 0 | NA | NA
2.2 | Cluster Belgium - Germany between Lixhe and Oberzier [ currently known as the ALEGrO project] including the following PCIs:
| 2.2.1 Interconnection between Lixhe (BE) and Oberzier (DE) | 1000 | [5;15] | [140;170] | [9000;11000] MWh | [150000;180000] | [5;15] | [-22;-18] | [4500;5500] MWh | [150000;180000] | [35;45] | [-800;-650] | [100000;130000] MWh | [120000;140000] | [45;75] | [-1100;-900] | [180000;210000] MWh | [120000;140000] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.2.2 Internal line between Lixhe and Herderen (BE) | 1000 | [5;15] | [140;170] | [9000;11000] MWh | [150000;180000] | [5;15] | [-22;-18] | [4500;5500] MWh | [150000;180000] | [35;45] | [-800;-650] | [100000;130000] MWh | [120000;140000] | [45;75] | [-1100;-900] | [180000;210000] MWh | [120000;140000] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.2.3 New substation in Zutendaal (BE) | 1000 | [5;15] | [140;170] | [9000;11000] MWh | [150000;180000] | [5;15] | [-22;-18] | [4500;5500] MWh | [150000;180000] | [35;45] | [-800;-650] | [100000;130000] MWh | [120000;140000] | [45;75] | [-1100;-900] | [180000;210000] MWh | [120000;140000] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
2.3 | Cluster Belgium - Luxembourg capacity increase at the BE/LU border including the following PCIs:
| 2.3.1 Coordinated installation and operation of a phase-shift transformer in Schifflange (LU) | 400 | [2.6;3.1] | [46;56] | [9300;11000] MWh | 0 | [2.6;3.1] | [31;38] | [5100;6300] MWh | 0 | [13;16] | [-300;-250] | [5100;6300] MWh | 0 | [21;25] | [-490;-400] | [74000;90000] MWh | 0 | 1 | 3 | NA | NA
| 2.3.2 Interconnection between Aubange (BE) and Bascharage/Schifflange (LU) | 300 | [1.9;2.4] | [34;42] | [6900;8500] MWh | 0 | [1.9;2.4] | [23;28] | [3900;4700] MWh | 0 | [9.6;12] | [-230;-190] | [3900;4700] MWh | 0 | [15;19] | [-370;-300] | [55000;67000] MWh | 0 | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
2.4 | PCI France - Italy interconnection between Codrongianos (IT), Lucciana (Corsica, FR) and Suvereto (IT) [currently known as the SA.CO.I. 3 project] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The investment is not assessed as it has been reconsidered taking into account the actual feasibility conditions according to the National Development Plan. Therefore at the moment no implementation activities are planned in the next years.
2.5 | Cluster France - Italy between Grande Ile and Piossasco, including the following PCIs:
| 2.5.1 Interconnection between Grande Ile (FR) and Piossasco (IT) [currently known as Savoie-Piemont project] | 1200 | [43;53] | [220;260] | 0 | [250000;310000] | [29;36] | 0 | 0 | [250000;300000] | [94;120] | [-440;-360] | [49000;60000] MWh | [8100;9900] | [190;230] | [-1200;-970] | [290000;350000] MWh | [36000;44000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.5.2 Internal line between Trino and Lacchiarella (IT) | Commissioned | Commissioned | [19 empty] | The investment is already commissioned
2.6 | PCI Spain internal line between Santa Llogaia and Bescanó (ES) to increase capacity of the interconnection between Bescanó (ES) and Baixas (FR) | 1400 | [20;130] | [1600;2000] | [110000;130000] MWh | [450000;550000] | [22;140] | [1800;2200] | [120000;150000] MWh | [280000;380000] | [70;150] | [-1100;-870] | [590000;720000] MWh | [180000;280000] | [210;280] | [-1500;-1300] | [1300000;1500000] MWh | [360000;460000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
2.7 | PCI France - Spain interconnection between Aquitaine (FR) and the Basque country (ES) | 2500 | [90-210] | [3300;4000] | [130000;160000] MWh | [200000;300000] | [95;220] | [3500;4300] | [140000;170000] MWh | [210000;310000] | [90;250] | [-1900;-1500] | [900000;1100000] MWh | [240000;340000] | [310;470] | [-2400;-2000] | [2100000;2600000] MWh | [390000;490000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
2.8 | PCI Coordinated installation and operation of a phase-shift transformer in Arkale (ES) to increase capacity of the interconnection between Argia (FR) and Arkale (ES) | 500 | [5;13] | [210;250] | [8700;11000] MWh | [7000;11000] | [7;6.15] | [230;290] | [8900;11000] MWh | [7500;12000] | [12;26] | [-190;-150] | [54000;66000] MWh | [10000;14000] | [33;53] | [-150;-130] | [85000;100000] MWh | [8000;9800] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
2.9 | PCI Germany internal line between Osterath and Philippsburg (DE) to increase capacity at Western borders | 3049 | [230;280] | [-2500;-2100] | [3300000;4000000] MWh | [-1400000;-1100000] | [160;190] | [-2000;-1600] | [3000000;3700000] MWh | [-690000;-570000] | [750;920] | [-3700;-3000] | [7900000;9600000] MWh | [-3400000;-2800000] | [720;880] | [-3600;-3000] | [8100000;9900000] MWh | [-2800000;-2300000] | 5 | 4 | NA | NA
2.10 | PCI Germany internal line between Brunsbὒttel-Groβgartach and Wilster-Grafenrheinfeld (DE) to increase capacity at Northern and Southern borders | 3575 | [100;130] | [-460;-380] | [930000;1100000] MWh | [-1300000;-1000000] | [94;110] | [32;39] | [900000;1100000] MWh | [-1300000;-1100000] | [410;500] | [-2200;-1800] | [2600000;3200000] MWh | [-1600000;-1300000] | [600;740] | [-3600;-3000] | [4100000;5000000] MWh | [-1900000;-1600000] | 5 | 5 | NA | NA
2.11 | Cluster Germany – Austria - Switzerland capacity increase in Lake Constance area including the following PCIs:
| 2.11.1 Interconnection between border area (DE), Meiningen (AT) and Rüthi (CH) | 1200 | [90;110] | [820;1000] | 0 | [-200000;-160000] | [140;170] | [1900;2400] | 0 | [-270000;-220000] | [310;380] | [-1200;-950] | [450000;550000] MWh | [-180000;-150000] | [480;580] | [-2100;-1700] | [900000;1100000] MWh | [-360000;-300000] | 1 | 4 | 15-50km | Negligeable or less than 15km
| 2.11.2 Internal line in the region of point Rommelsbach to Herbertingen, Herbertingen to Tiengen, point Wullenstetten to point Niederwangen (DE) and the border area DE-AT | 2000 | [53;65] | [480;590] | 0 | [-58000;-48000] | [83;100] | [1100;1400] | [-4300;-3500] MWh | [-80000;-66000] | [180;220] | [-680;-560] | [260000;320000] MWh | [-54000;-44000] | [280;340] | [-1200;-1000] | [530000;650000] MWh | [-110000;-87000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
2.12 | PCI Germany – Netherlands interconnection between Niederrhein (DE) and Doetinchem (NL) | 1400 | [0;10] | [-11;-9] | [4500;5500] MWh | [-39000;-32000] | [4;5] | [-27;-22] | 0 | [-39000;-32000] | [15;65] | [-770;-630] | [100000;130000] MWh | [-180000;-150000] | [40;60] | [-1000;-1200] | [63000;77000] MWh | [-180000;-150000] | 3 | 3 | 15-50km | 25-50km
2.13 | Cluster Ireland – United Kingdom (Northern Ireland) interconnections, including one or more following Projects of Common Interest:
| 2.13.1 PCI Ireland – United Kingdom interconnection between Woodland (IE) and Turleenan (UK – Northern Ireland) | 660 | [18;36] | [-45;-36] | [6300;7700] MWh | [-50000;-41000] | [12;15] | [-27;-22] | [9000;11000] MWh | [-47000;-39000] | [27;34] | [-49;-40] | [45000;55000] MWh | [-47000;-39000] | [55;77] | [-110;-90] | [1800;2200] MWh | [-45000;-37000] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.13.2 PCI Ireland – United Kingdom Interconnection between Srananagh (IE) and Turleenan (UK – Northern Ireland) | 570 | [120;140] | [-1100;-920] | [120000;150000] MWh | [-52000;-64000] | [140;150] | [-120;-94] | [32000;39000] MWh | [-59000;=72000] | [70;100] | [-400;-320] | [810000;1000000] MWh | [-59000;-72000] | [55;75] | [-190;-160] | [970000;1200000] MWh | [-70000;-86000] | 3 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
2.14 | PCI Italy – Switzerland interconnection between Thusis/Sils (CH) and Verderio Inferiore (IT) | 800 | [19;24] | [170;210] | 0 | [-20000;-16000] | [17;20] | [-500;-410] | 0 | [-24000;-20000] | [18;23] | 0 | 0 | [1800;2200] | [42;51] | [-120;-99] | 0 | [-17000;-14000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
2.15 | Cluster Italy – Switzerland capacity increase at IT/CH border including the following PCIs:
| 2.15.1 Interconnection between Airolo (CH) and Baggio (IT) | 1000 | [26;31] | [190;230] | 0 | [230000;290000] | [32;39] | [-340;-280] | 0 | [230000;290000] | [26;31] | 0 | 0 | [17000;21000] | [54;66] | [-140;-120] | 0 | [50000;61000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.15.2 Upgrade of Magenta substation (IT) | 1000 | [26;31] | [190;230] | 0 | [230000;290000] | [32;39] | [-340;-280] | 0 | [230000;290000] | [26;31] | 0 | 0 | [17000;21000] | [54;66] | [-140;-120] | 0 | [50000;61000] | 1 | 4 | NA | NA
| 2.15.3 Internal line between Pavia and Piacenza (IT) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The investment is not assessed as it has been reconsidered taking into account the actual feasibility conditions according to the National Development Plan. Therefore at the moment no implementation activities are planned in the next years.
| 2.15.4 Internal line between Tirano and Verderio (IT) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The investment is not assessed as it has been reconsidered taking into account the actual feasibility conditions according to the National Development Plan. Therefore at the moment no implementation activities are planned in the next years.
2.16 | Cluster Portugal capacity increase at PT/ES border including the following PCIs:
| 2.16.1 Internal line between Pedralva and Alfena (PT) | 830 | [17;21] | [-67;-55] | [360;440] MW | [7400;9100] | [17;21] | [-67;-55] | [360;440] MW | [8100;9900] | [20;24] | [-81;-67] | [420;520] MW | [9000;11000] | [15;18] | [-63;-51] | [440;540] MW | [670;820] | 1 | 3 | NA | Negligeable or less than 15km
| 2.16.2 Internal line between Pedralva and Vila Fria B (PT) | 680 | [14;17] | [-55;-45] | [290;360] MW | [6100;7500] | [14;17] | [-55;-45] | [290;360] MW | [6700;8100] | [16;20] | [-67;-55] | [350;430] MW | [7400;9000] | [12;15] | [-51;-42] | [360;440] MW | [550;670] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 2.16.3 Internal line between Frades B, Ribeira de Pena and Feira (PT) | 890 | [18;22] | [-72;-59] | [380;470] MW | [8000;9800] | [18;22] | [-72;-59] | [380;470] MW | [8700;11000] | [21;26] | [-87;-71] | [460;560] MW | [9600;12000] | [16;20] | [-67;-55] | [470;580] MW | [720;880] | 1 | 3 | NA | NA
2.17 | PCI Portugal - Spain interconnection between Vila Fria - Vila do Conde – Recarei (PT) and Beariz - Fontefría (ES) | 1000 | [4;30] | [180;220] | [7200;8800] MWh | [-14000;-12000] | [3;33] | [160;200] | [7900;9600] MWh | [-13000;-11000] | [20;50] | [-110;-90] | [160000;200000] MWh | [3600;4400] | [64;130] | [-330;-270] | [630000;770000] MWh | [8100;9900] | 3 | 4 | NA | NA
3.1 | Cluster Austria - Germany between St. Peter and Isar including the following PCIs:
| 3.1.1 Interconnection between St. Peter (AT) and Isar (DE) | 2320 | [42;52] | [420;520] | 0 | [-360000;-290000] | [91;110] | [310;380] | 0 | [-330000;-270000] | [250;310] | [-1200;-1000] | [240000;290000] MWh | [-260000;-220000] | [350;420] | [-1300;-1000] | [550000;680000] MWh | [-280000;-230000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.1.2 Internal line between St. Peter and Tauern (AT) | 1740 | [32;39] | [320;390] | 0 | [-270000;-220000] | [69;84] | [230;290] | 0 | [-250000;-210000] | [190;230] | [-920;-760] | [180000;220000] MWh | [-200000;-160000] | [260;320] | [-940;-770] | [420000;510000] MWh | [-210000;-170000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.1.3 Internal line between St. Peter and Ernsthofen (AT) | 580 | [11;13] | [110;130] | 0 | [-90000;-73000] | [23;28] | [78;96] | 0 | [-84000;-68000] | [63;77] | [-310;-250] | [59000;73000] MWh | [-66000;-54000] | [87;110] | [-310;-260] | [140000;170000] MWh | [-69000;-56000] | 1 | 2 | NA | NA
3.2 | Cluster Austria - Italy between Lienz and Veneto region including the following PCIs:
| 3.2.1 Interconnection between Lienz (AT) and Veneto region (IT) | 800 | [32;39] | [290;350] | 0 | [-280000;-230000] | [49;60] | [-270;-220] | [1500;1800] MWh | [-290000;-230000] | [31;38] | [-69;-57] | [600;730] MWh | [-110000;-89000] | [57;70] | [-160;-130] | [6200;7600] MWh | [-150000;-120000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.2.2 Internal line between Lienz and Obersielach (AT) | 320 | [13;16] | [120;140] | 0 | [-110000;-91000] | [20;24] | [-110;-89] | [600;730] MWh | [-110000;-93000] | [13;15] | [-28;-23] | [240;290] MWh | [-44000;-36000] | [23;28] | [-66;-54] | [2500;3000] MWh | [-61000;-50000] | 1 | 3 | NA | NA
| 3.2.3 Internal line between Volpago and North Venezia (IT) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The investment is not assessed as it has been reconsidered taking into account the actual feasibility conditions according to the National Development Plan. Therefore at the moment no implementation activities are planned in the next years.
3.3 | PCI Austria - Italy interconnection between Nauders (AT) and Milan region (IT) | 300 | [12;15] | [110;130] | 0 | [-100000;-86000] | [18;23] | [-100;-83] | [560;680] MWh | [-110000;-88000] | [12;14] | [-26;-21] | [220;270] MWh | [-41000;-34000] | [21;26] | [-61;-50] | [2300;2800] MWh | [-57000;-47000] | 0 | 0 | Negligeable or less than 15km | Negligeable or less than 15km
3.4 | PCI Austria – Italy interconnection between Wurmlach (AT) and Somplago (IT) | 150 | [4;5] | 0 | 0 | [-13000;-11000] | [9;11] | 0 | 0 | [-13000;-11000] | [2;3] | 0 | 0 | [-2600;-2200] | [5;6] | 0 | 0 | [-3600;-3000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.5 | Cluster Bosnia and Herzegovina - Croatia between Banja Luka and Lika including the following PCIs:
| 3.5.1 Interconnection between Banja Luka (BA) and Lika (HR) | 504 | [42;51] | [-260;-210] | [620;750] MW | [8200;10000] | [110;130] | [-240;-200] | [620;750] MW | [-89000;-73000] | [340;420] | [-2200;-1800] | [670;820] MW | [-4400;-3600] | [220;270] | [-1900;-1500] | [670;820] MW | [6700;8200] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.5.2 Internal lines between Brinje, Lika, Velebit and Konjsko (HR) | 215 | [18;22] | [-110;-92] | [260;320] MW | [3500;4300] | [45;55] | [-100;-85] | [260;320] MW | [-38000;-31000] | [150;180] | [-950;-780] | [280;350] MW | [-1900;-1500] | [96;120] | [-800;-650] | [280;350] MW | [2800;3500] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.6 | Cluster Bulgaria capacity increase with Greece and Romania including the following PCIs:
| 3.6.1 Internal line between Vetren and Blagoevgrad (BG) | 65 | [180;220] | [-120;-99] | 0 | [-31000;-25000] | [84;100] | [-280;-230] | 0 | [-41000;-33000] | [480;580] | [-1200;-940] | 0 | [-47000;-38000] | [55;67] | [-740;-600] | 0 | [-35000;-29000] | 2 | 2 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.6.2 Internal line between Tsarevets and Plovdiv (BG) | 65 | [180;220] | [-120;-99] | 0 | [-31000;-25000] | [84;100] | [-280;-230] | 0 | [-41000;-33000] | [480;580] | [-1200;-940] | 0 | [-47000;-38000] | [55;67] | [-740;-600] | 0 | [-35000;-29000] | 2 | 2 | Negligeable or less than 15km | Negligeable or less than 15km
3.7 | Cluster Bulgaria - Greece between Maritsa East 1 and N. Santa including the following PCIs:
| 3.7.1 Interconnection between Maritsa East 1 (BG) and N. Santa (EL) | 648 | [54;67] | [-22;-18] | 250 MW | [-110000;-88000] | [200;250] | [-150;-130] | 250 MW | [-140000;-110000] | [100;120] | [-510;-410] | 250 MW | [-170000;-140000] | [150;180] | [-970;-790] | 250 MW | [-130000;-110000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.7.2 Internal line between Maritsa East 1 and Plovdiv (BG) | 648 | [54;67] | [-22;-18] | 250 MW | [-110000;-88000] | [200;250] | [-150;-130] | 250 MW | [-140000;-110000] | [100;120] | [-510;-410] | 250 MW | [-170000;-140000] | [150;180] | [-970;-790] | 250 MW | [-130000;-110000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.7.3 Internal line between Maritsa East 1 and Maritsa East 3 (BG) | 648 | [54;67] | [-22;-18] | 250 MW | [-110000;-88000] | [200;250] | [-150;-130] | 250 MW | [-140000;-110000] | [100;120] | [-510;-410] | 250 MW | [-170000;-140000] | [150;180] | [-970;-790] | 250 MW | [-130000;-110000] | 2 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.7.4 Internal line between Maritsa East 1 and Burgas (BG) | 648 | [54;67] | [-22;-18] | 250 MW | [-110000;-88000] | [200;250] | [-150;-130] | 250 MW | [-140000;-110000] | [100;120] | [-510;-410] | 250 MW | [-170000;-140000] | [150;180] | [-970;-790] | 250 MW | [-130000;-110000] | 2 | 4 | NA | Negligeable or less than 15km
3.8 | Cluster Bulgaria – Romania capacity increase including the following PCIs:
| 3.8.1 Internal line between Dobrudja and Burgas (BG) | 165 | [8;9.8] | [-31;-26] | [90;110] MW | [-4900;-4000] | [4.6;5.6] | [-59;-48] | [90;110] MW | [2000;2500] | [30;37] | [-250;-210] | [90;110] MW | [-13000;-11000] | [27;33] | [-160;-130] | [90;110] MW | [-1900;-1500] | 1 | 3 | NA | Negligeable or less than 15km
| 3.8.2 Internal line between Vidino and Svoboda (BG) | 165 | [8;9.8] | [-31;-26] | [90;110] MW | [-4900;-4000] | [4.6;5.6] | [-59;-48] | [90;110] MW | [2000;2500] | [30;37] | [-250;-210] | [90;110] MW | [-13000;-11000] | [27;33] | [-160;-130] | [90;110] MW | [-1900;-1500] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.8.3 Internal line between Svoboda (BG) and the splitting point of the interconnection Varna (BG) - Stupina (RO) in BG | 165 | [8;9.8] | [-31;-26] | [90;110] MW | [-4900;-4000] | [4.6;5.6] | [-59;-48] | [90;110] MW | [2000;2500] | [30;37] | [-250;-210] | [90;110] MW | [-13000;-11000] | [27;33] | [-160;-130] | [90;110] MW | [-1900;-1500] | 1 | 3 | NA | NA
| 3.8.4 Internal line between Cernavoda and Stalpu (RO) | 808 | [39;48] | [-150;-130] | [440;540] MW | [-24000;-20000] | [23;28] | [-290;-240] | [440;540] MW | [10000;12000] | [150;180] | [-1200;-1000] | [440;540] MW | [-64000;-52000] | [130;160] | [-790;-650] | [440;540] MW | [-9100;-7400] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.8.5 Internal line between Gutinas and Smardan (RO) | 560 | [27;33] | [-110;-87] | [310;370] MW | [-17000;-14000] | [16;19] | [-200;-160] | [310;370] MW | [6900;8400] | [100;130] | [-860;-700] | [310;370] MW | [-44000;-36000] | [92;110] | [-550;-450] | [310;370] MW | [-6300;-5100] | 1 | 3 | NA | Negligeable or less than 15km
| 3.8.6 Internal line between Gadalin and Suceava (RO) | 165 | [8;9.8] | [-31;-26] | [90;110] MW | [-4900;-4000] | [4.6;5.6] | [-59;-48] | [90;110] MW | [2000;2500] | [30;37] | [-250;-210] | [90;110] MW | [-13000;-11000] | [27;33] | [-160;-130] | [90;110] MW | [-1900;-1500] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.9 | Cluster Croatia – Hungary - Slovenia between Žerjavenec /Heviz and Cirkovce including the following PCIs:
| 3.9.1 Interconnection between Žerjavenec (HR)/Heviz (HU) and Cirkovce (SI) | 1085 | [42;51] | [-200;-160] | 0 | [-120000;-95000] | [40;49] | [-44;-36] | 0 | [-460000;-370000] | [480;580] | [-3800;-3100] | 0 | [-240000;-190000] | [300;370] | [-1700;-1400] | 0 | [-190000;-150000] | 0 | 4 | 15-50km | 15-25km
| 3.9.2 Internal line between Divača and Beričevo (SI) | 800 | [31;38] | [-150;-120] | 0 | [-85000;-70000] | [30;36] | [-32;-27] | 0 | [-340000;-280000] | [350;430] | [-2800;-2300] | 0 | [-170000;-140000] | [220;270] | [-1200;-1000] | 0 | [-140000;-110000] | 1 | 3 | 50-100km | NA
| 3.9.3 Internal line between Beričevo and Podlog (SI) | 800 | [31;38] | [-150;-120] | 0 | [-85000;-70000] | [30;36] | [-32;-27] | 0 | [-340000;-280000] | [350;430] | [-2800;-2300] | 0 | [-170000;-140000] | [220;270] | [-1200;-1000] | 0 | [-140000;-110000] | 1 | 3 | Negligeable or less than 15km | NA
| 3.9.4 Internal line between Podlog and Cirkovce (SI) | 800 | [31;38] | [-150;-120] | 0 | [-85000;-70000] | [30;36] | [-32;-27] | 0 | [-340000;-280000] | [350;430] | [-2800;-2300] | 0 | [-170000;-140000] | [220;270] | [-1200;-1000] | 0 | [-140000;-110000] | 1 | 3 | Negligeable or less than 15km | NA
3.10 | Cluster Israel - Cyprus – Greece between Hadera and Attica region [currently known as the Euro Asia Interconnector] including the following PCIs:
| 3.10.1 Interconnection between Hadera (IL) and Vasilikos (CY) | 2000 | [530;640] | 0 | [3400000;4100000] MWh | [1400000;1700000] | [530;650] | 0 | [3600000;4400000] MWh | [1400000;1700000] | [330;410] | 0 | [3500000;4200000] MWh | [1200000;1400000] | [310;380] | 0 | [3500000;4300000] MWh | [1100000;1400000] | 2 | 3 | NA | NA
| 3.10.2 Interconnection between Vasilikos (CY) and Korakia, Crete (EL) | 2000 | [530;640] | 0 | [3400000;4100000] MWh | [1400000;1700000] | [530;650] | 0 | [3600000;4400000] MWh | [1400000;1700000] | [330;410] | 0 | [3500000;4200000] MWh | [1200000;1400000] | [310;380] | 0 | [3500000;4300000] MWh | [1100000;1400000] | 2 | 3 | NA | NA
| 3.10.3 Internal line between Korakia, Crete and Attica region (EL) | 2000 | [530;640] | 0 | [3400000;4100000] MWh | [1400000;1700000] | [530;650] | 0 | [3600000;4400000] MWh | [1400000;1700000] | [330;410] | 0 | [3500000;4200000] MWh | [1200000;1400000] | [310;380] | 0 | [3500000;4300000] MWh | [1100000;1400000] | 2 | 3 | NA | NA
3.11 | Cluster Czech Republic internal lines to increase capacity at North-Western and Southern borders including the following PCIs:
| 3.11.1 Internal line between Vernerov and Vitkov (CZ) | 500 | [250;310] | [-2100;-2500] | [200000;250000] MWh | [-220000;-260000] | [270;330] | [-1800;-2100] | [200000;240000] MWh | [-260000;-320000] | [1400;1700] | [-7900;-9500] | [210000;260000] MWh | [-340000;-580000] | [1200;1500] | [-7000;-8600] | [210000;260000] MWh | [-280000;-300000] | 2 | 3 | NA | NA
| 3.11.2 Internal line between Vitkov and Prestice (CZ) | 500 | [250;310] | [-2100;-2500] | [200000;250000] MWh | [-220000;-260000] | [270;330] | [-1800;-2100] | [200000;240000] MWh | [-260000;-320000] | [1400;1700] | [-7900;-9500] | [210000;260000] MWh | [-340000;-580000] | [1200;1500] | [-7000;-8600] | [210000;260000] MWh | [-280000;-300000] | 2 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.11.3 Internal line between Prestice and Kocin (CZ) | 500 | [250;310] | [-2100;-2500] | [200000;250000] MWh | [-220000;-260000] | [270;330] | [-1800;-2100] | [200000;240000] MWh | [-260000;-320000] | [1400;1700] | [-7900;-9500] | [210000;260000] MWh | [-340000;-580000] | [1200;1500] | [-7000;-8600] | [210000;260000] MWh | [-260000;-320000] | 2 | 3 | NA | NA
| 3.11.4 Internal line between Kocin and Mirovka (CZ) | 500 | [250;310] | [-2100;-2500] | [200000;250000] MWh | [-220000;-260000] | [270;330] | [-1800;-2100] | [200000;240000] MWh | [-260000;-320000] | [1400;1700] | [-7900;-9500] | [210000;260000] MWh | [-340000;-580000] | [1200;1500] | [-7000;-8600] | [210000;260000] MWh | [-260000;-320000] | 2 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.11.5 Internal line between Mirovka and Cebin (CZ) | 100 | [50;61] | [-510;-420] | [41000;50000] MWh | [-53000;-43000] | [54;66] | [-430;-350] | [40000;48000] MWh | [-63000;-52000] | [280;340] | [-1900;-1600] | [42000;52000] MWh | [-100000;-82000] | [250;310] | [-1700;-1400] | [42000;52000] MWh | [-64000;-52000] | 2 | 2 | NA | Negligeable or less than 15km
3.12 | PCI internal line in Germany between Lauchstädt and Meitingen to increase capacity at Eastern borders | 3583 | [100;130] | [-460;-380] | [930000;1100000] MWh | [-1300000;-1000000] | [94;110] | [32;39] | [900000;1100000] MWh | [-1300000;-1100000] | [410;500] | [-2200;-1800] | [2600000;3200000] MWh | [-1600000;-1300000] | [600;740] | [-3600;-3000] | [4100000;5000000] MWh | [-1900000;-1600000] | 5 | 5 | NA | NA
3.13 | PCI internal line in Germany between Halle/Saale and Schweinfurt to increase capacity in the North-South Corridor East | 3583 | [100;130] | [-460;-380] | [930000;1100000] MWh | [-1300000;-1000000] | [94;110] | [32;39] | [900000;1100000] MWh | [-1300000;-1100000] | [410;500] | [-2200;-1800] | [2600000;3200000] MWh | [-1600000;-1300000] | [600;740] | [-3600;-3000] | [4100000;5000000] MWh | [-1900000;-1600000] | 5 | 5 | 15-50km | Negligeable or less than 15km
3.14 | Cluster Germany – Poland between Eisenhűttenstadt and Plewiska [currently known as the GerPol Power Bridge project] including the following PCIs:
| 3.14.1 Interconnection between Eisenhűttenstadt (DE) and Plewiska (PL) | 800 | [37;45] | [400;490] | 0 | [-93000;-76000] | [36;44] | [-650;-530] | 0 | [-86000;-70000] | [53;65] | [-43;-36] | 0 | [-410000;-340000] | [52;64] | [47;57] | 0 | [-480000;-400000] | 1 | 4 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.14.2 Internal line between Krajnik and Baczyna (PL) | 400 | [18;23] | [200;250] | 0 | [-46000;-38000] | [18;22] | [-330;-270] | 0 | [-43000;-35000] | [27;33] | [-22;-18] | 0 | [-210000;-170000] | [26;32] | [23;28] | 0 | [-240000;-200000] | 1 | 3 | NA | NA
| 3.14.3 Internal line between Mikułowa and Świebodzice (PL) | 400 | [18;23] | [200;250] | 0 | [-46000;-38000] | [18;22] | [-330;-270] | 0 | [-43000;-35000] | [27;33] | [-22;-18] | 0 | [-210000;-170000] | [26;32] | [23;28] | 0 | [-240000;-200000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.15 | Cluster Germany – Poland between Vierraden and Krajnik including the following PCIs:
| 3.15.1 Interconnection between Vierraden (DE) and Krajnik (PL) | 1500 | [250;300] | [2000;2400] | 0 | [-60000;-49000] | [240;300] | [2800;3400] | 0 | [-49000;-40000] | [75;92] | [1300;1600] | 0 | [-140000;-110000] | [270;330] | [50;61] | 0 | [-190000;-150000] | 2 | 3 | 15-50km | Negligeable or less than 15km
| 3.15.2 Coordinated installation and operation of phase shifting transformers on the interconnection lines between Krajnik (PL) – Vierraden (DE) and Mikulowa (PL) – Hagenwerder (DE) | 1500 | [250;300] | [2000;2400] | 0 | [-60000;-49000] | [240;300] | [2800;3400] | 0 | [-49000;-40000] | [75;92] | [1300;1600] | 0 | [-140000;-110000] | [270;330] | [50;61] | 0 | [-190000;-150000] | 2 | 3 | NA | NA
3.16 | Cluster Hungary - Slovakia between Gőnyὒ and Gabčikovo including the following PCIs:
| 3.16.1 Interconnection between Gőnyὒ (HU) and Gabčikovo (SK) | 1000 | [15;18] | [220;270] | 0 | [-91000;-74000] | [12;15] | [270;330] | 0 | [-120000;-95000] | [17;20] | [35;43] | 0 | [2600;3200] | [35;43] | [-140;-110] | 0 | [-2400;-2000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.16.2 Internal line between Velkẏ Ďur and Gabčikovo (SK) | 150 | [2;3] | [33;40] | 0 | [-13600;-11100] | [1,9;2,3] | [40;49] | 0 | [-17500;-14300] | [2,5;3] | [5;6] | 0 | [-400;500] | [5,5;6,5] | [-21;-17] | 0 | [-400;-300] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.16.3 Extension of Győr substation (HU) | 200 | [3;3.6] | [43;53] | 0 | [-18000;-15000] | [2.5;3] | [53;65] | 0 | [-23000;-19000] | [3.4;4.1] | [7;8.5] | 0 | [520;630] | [7.1;8.7] | [-28;-23] | 0 | [-490;-400] | 1 | 2 | NA | NA
3.17 | PCI Hungary - Slovakia interconnection between Sajóvánka (HU) and Rimavská Sobota (SK) | 800 | [12;15] | [170;210] | 0 | [-72000;-59000] | [10;12] | [210;260] | 0 | [-93000;-76000] | [13;16] | [28;34] | 0 | [2100;2500] | [28;35] | [-110;-92] | 0 | [-2000;-1600] | 0 | 0 | NA | Negligeable or less than 15km
3.18 | Cluster Hungary - Slovakia between Kisvárda area and Velké Kapušany including the following PCIs:
| 3.18.1 Interconnection between Kisvárda area (HU) and Velké Kapušany (SK) | 500 | [2;2.4] | [-40;-32] | 0 | [-20000;-16000] | [2.6;3.2] | [64;78] | 0 | [-33000;-27000] | [9.2;11] | [-12;-9.9] | 0 | [-43000;-35000] | [19;23] | [-68;-55] | 0 | [-18000;-15000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.18.2 Internal line between Lemešany and Velké Kapušany (SK) | 50 | [0,18;0,22] | [-3,5;-3] | 0 | [-1800;-1500] | [0,2;0,3] | [-7;-6] | 0 | [-3000;-2500] | [0,9;1] | [-1;-0,9] | 0 | [-4000;-3000] | [1,8;2] | [-6;-5] | 0 | [-1700;-1400] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.19 | Cluster Italy - Montenegro between Villanova and Lastva including the following PCIs:
| 3.19.1 Interconnection between Villanova (IT) and Lastva (ME) | 1000 | [140;170] | [1400;1700] | [13000;15000] MWh | [-18000;-14000] | [110;130] | [1100;1300] | 0 | [-18000;-14000] | [290;360] | [-650;-530] | [330000;410000] MWh | [1800;2200] | [290;350] | [-1700;-1400] | [990000;1200000] MWh | [3600;4400] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 3.19.2 Internal line between Fano and Teramo (IT) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | The investment is not assessed as it has been reconsidered taking into account the actual feasibility conditions according to the National Development Plan. Therefore at the moment no implementation activities are planned in the next years.
| 3.19.3 Internal line between Foggia and Villanova (IT) | 600 | [180;210] | [-1500;-1200] | [2200000;2700000] MWh | [-79000;-65000] | [170;200] | [-1400;-1200] | [2100000;2500000] MWh | [-79000;-65000] | [220;270] | [-1700;-1400] | [2400000;3000000] MWh | [-63000;-52000] | [220;270] | [-1700;-1400] | [2500000;3000000] MWh | [-130000;-110000] | 1 | 2 | Negligeable or less than 15km | Negligeable or less than 15km
3.20 | Cluster Italy – Slovenia between West Udine and Okroglo including the following PCIs:
| 3.20.1 Interconnection between West Udine (IT) and Okroglo (SI) | 800 | [23;28] | [220;270] | 0 | [-110000;-90000] | [49;60] | [-260;-210] | 0 | [-140000;-120000] | [15;18] | 0 | 0 | [-41000;-33000] | [18;23] | 0 | 0 | [-260000;-220000] | 1 | 4 | 15-50km | Negligeable or less than 15km
| 3.20.2 Internal line between West Udine and Redipuglia (IT) | 600 | [18;21] | [170;200] | 0 | [-83000;-68000] | [37;45] | [-190;-160] | 0 | [-110000;-86000] | [11;14] | 0 | 0 | [-31000;-25000] | [14;17] | 0 | 0 | [-200000;-160000] | 1 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
3.21 | PCI Italy – Slovenia interconnection between Salgareda (IT) and Divača - Bericevo region (SI) | 800 | [22;27] | [220;270] | 0 | [1800;2200] | [49;60] | [-230;-190] | 0 | [900;1100] | [15;18] | [12;15] | 0 | [3600;4400] | [19;24] | 0 | 0 | 0 | 1 | 3 | NA | NA
3.22 | Cluster Romania – Serbia between Resita and Pancevo including the following PCIs:
| 3.22.1 Interconnection between Resita (RO) and Pancevo (RS) | 350 | [83;100] | [590;720] | [430;520] MW | [-45000;-37000] | [32;39] | [330;410] | [430;520] MW | [-78000;-64000] | [8.5;10] | [-180;-150] | [430;520] MW | [-100000;-85000] | [90;110] | [-160;-130] | [430;520] MW | [-160000;-130000] | 2 | 4 | NA | Negligeable or less than 15km
| 3.22.2 Internal line between Portile de Fier and Resita (RO) | 287 | [68;83] | [480;590] | [350;430] MW | [-37000;-31000] | [26;32] | [270;340] | [350;430] MW | [-64000;-52000] | [7;8.6] | [-150;-120] | [350;430] MW | [-85000;-70000] | [74;90] | [-130;-110] | [350;430] MW | [-130000;-110000] | 2 | 3 | 15-50km | Negligeable or less than 15km
| 3.22.3 Internal line between Resita and Timisoara/Sacalaz (RO) | 180 | [43;52] | [300;370] | [220;270] MW | [-23000;-19000] | [16;20] | [170;210] | [220;270] MW | [-40000;-33000] | [4.4;5.4] | [-93;-76] | [220;270] MW | [-53000;-44000] | [46;56] | [-82;-67] | [220;270] MW | [-84000;-68000] | 2 | 3 | NA | Negligeable or less than 15km
| 3.22.4 Internal line between Arad and Timisoara/Sacalaz (RO) | 180 | [43;52] | [300;370] | [220;270] MW | [-23000;-19000] | [16;20] | [170;210] | [220;270] MW | [-40000;-33000] | [4.4;5.4] | [-93;-76] | [220;270] MW | [-53000;-44000] | [46;56] | [-82;-67] | [220;270] MW | [-84000;-68000] | 2 | 3 | NA | Negligeable or less than 15km
4.1 | PCI Denmark – Germany interconnection between Ishőj/Bjæverskov (DK) and Bentwisch/Gűstrow (DE) via offshore windparks Kriegers Flak (DK) and Baltic 2 (DE) [currently known as Kriegers Flak Combined Grid Solution] | 400 | [19;24] | [-130;-110] | [54000;66000] MWh | [-62000;-51000] | [7;8] | [-4;-3] | [9000;11000] MWh | [-62000;-50000] | [10;13] | [-390;-320] | [18000;22000] MWh | [4500;5500] | [36;44] | [-760;-620] | [18000;22000] MWh | [4500;5500] | 3 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
4.2 | Cluster Estonia – Latvia between Kilingi-Nõmme and Riga [currently known as 3rd interconnection] including the following PCIs:
| 4.2.1 Interconnection between Kilingi-Nõmme (EE) and Riga CHP2 substation (LV) | 500 | [6.8;8.3] | [76;93] | [30000;37000] MWh | [44000;54000] | [9;11] | [6;7.3] | [30000;37000] MWh | [76000;93000] | [0.75;0.92] | [-8.3;-6.8] | [7500;9200] MWh | [-920;-750] | [6.8;8.3] | [-27;-22] | [9000;11000] MWh | [9000;11000] | 4 | 4 | more than 100km | Negligeable or less than 15km
| 4.2.2 Internal line between Harku and Sindi (EE) | 250 | [3.4;4.1] | [38;46] | [15000;18000] MWh | [22000;27000] | [4.5;5.5] | [3;3.7] | [15000;18000] MWh | [38000;46000] | [0.38;0.46] | [-4.1;-3.4] | [3800;4600] MWh | [-460;-380] | [3.4;4.1] | [-13;-11] | [4500;5500] MWh | [4500;5500] | 3 | 3 | 15-50km | Negligeable or less than 15km
4.3 | PCI Estonia / Latvia / Lithuania synchronous interconnection with the Continental European networks | 600 | [26;31] | [-340;-280] | 0 | 0 | [12;15] | [86;110] | 0 | 0 | [34;41] | [-2600;-2100] | 0 | 0 | [120;140] | [-2000;-1700] | [54000;66000] MWh | 0 | 2 | 4 | NA | NA
4.4 | Cluster Latvia - Sweden capacity increase [currently known as the NordBalt project] including the following PCIs:
| 4.4.1 Internal line between Ventspils, Tume and Imanta (LV) | 150 | [3.5;4.2] | [-19;-16] | [3900;4700] MWh | [60000;73000] | [7.5;9.2] | [240;290] | [3900;4700] MWh | [68000;83000] | [2.1;2.6] | [-140;-110] | [23000;28000] MWh | [30000;37000] | [38;46] | [-300;-250] | [23000;28000] MWh | [75000;92000] | 3 | 2 | Negligeable or less than 15km | Negligeable or less than 15km
| 4.4.2 Internal line between Ekhyddan and Nybro/Hemsjö (SE) | 700 | 0 | 0 | 0 | [-23000;-19000] | 0 | 0 | 0 | [61000;75000] | 0 | 0 | 0 | [83000;100000] | 0 | 0 | 0 | [11000;13000] | 4 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
4.5 | Cluster Lithuania – Poland between Alytus (LT) and Elk (PL) including the following PCIs:
| 4.5.1 LT part of interconnection between Alytus (LT) and LT/PL border | 400 | [32;40] | [-230;-190] | [43000;53000] MWh | [130000;160000] | [42;51] | [600;730] | [7200;8800] MWh | [160000;190000] | [19;23] | [-1600;-1300] | [7200;8800] MWh | [-870000;-710000] | [130;160] | [-2000;-1600] | [7200;8800] MWh | [-880000;-720000] | 3 | 5 | 15-50km | Negligeable or less than 15km
| 4.5.2 Internal line between Stanisławów and Olsztyn Mątki (PL) | 500 | [18;23] | [-180;-140] | [9000;11000] MWh | [95000;120000] | [16;20] | [150;180] | [9000;11000] MWh | [85000;100000] | [18;22] | [-960;-780] | [14000;17000] MWh | [-330000;-270000] | [76;92] | [-1100;-890] | [14000;17000] MWh | [-150000;-120000] | 0 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 4.5.3 Internal line between Kozienice and Siedlce Ujrzanów (PL) | 300 | [11;14] | [-110;-87] | [5400;6600] MWh | [57000;70000] | [9.7;12] | [87;110] | [5400;6600] MWh | [51000;62000] | [11;13] | [-570;-470] | [8100;9900] MWh | [-200000;-160000] | [45;55] | [-650;-530] | [8100;9900] MWh | [-88000;-72000] | 0 | 3 | Negligeable or less than 15km | Negligeable or less than 15km
| 4.5.4 Internal line between Płock and Olsztyn Mątki (PL) | 100 | [3.7;4.5] | [-35;-29] | [1800;2200] MWh | [19000;23000] | [3.2;4] | [29;36] | [1800;2200] MWh | [17000;21000] | [3.6;4.4] | [-190;-160] | [2700;3300] MWh | [-67000;-55000] | [15;18] | [-220;-180] | [2700;3300] MWh | [-29000;-24000] | 0 | 3 | NA | NA

## TYNDP 2014- PCIs storage
|  | all visions | Vision 1 |  |  |  | Vision 2 |  |  |  | Vision 3 |  |  |  | Vision 4 |  |  |  | all visions | all visions | all visions | all visions
PCI Nr. | Storage Project description | GTC (MW) | SEW (Meuros/yr) | RES avoided spillage (MWh/yr) | Losses variation (MWh/yr) | CO2 emissions variation (kT/yr) | SEW Meuros/yr | RES MW or MWh | Losses MWh/yr | CO2 emissions variation (kT/yr) | SEW Meuros/yr | RES MW or MWh | Losses MWh/yr | CO2 emissions variation (kT/yr) | SEW Meuros/yr | RES MW or MWh | Losses MWh/yr | CO2 emissions variation (kT/yr) | S1 - "environmental impact" | S2 - "social impact" | B6 - Resilience | B7 - Flexibility
1.12 | Storage faciliy at Larne in Northern Ireland. Project consists of both storage and generation facilities. | 268 | [0;10] | [27000;33000] | 0 | [-44;-36] | 0 | [14000;17000] | 0 | [-27;-22] | [0;10] | [90000;110000] | 0 | [-71;-58] | [0;10] | [81000;99000] | 0 | [-38;-31] | NA | NA | 2 | 2
2.18 | Extension of the pump storage powerplant Kaunertal | 900 | [48;58] | 0 | [-44000;-36000] | [-450;-370] | [47;57] | 0 | [-54000;-44000] | [-410;-340] | [81;99] | [1350;1650] | [-61000;-50000] | [-345;-280] | [79;97] | [12960;15480]] | [-58000;-48000] | -240;-300] | NA | NA | 2 | 3
2.20 | capacity increase of hydro-pumped storage in Austria - Limberg III, Salzburg | 480 | [0;1] | [73;90] | [-25000;-20000] | [29;36] | [0;1] | [130;160] | [-29000;-23000] | [52;63] | [1;2] | [1800;2200] | [-33000;-27000] | [7;8] | [3;4] | [9900;12000] | [-32000;-26000] | [7;8] | NA | NA | 2 | 3
2.21 | hydro-pumped storage in Germany - Riedl | 300 | [0;1] | [73;90] | [-6400;-5200] | [37;46] | [1;2] | [84;100] | [-7700;-6300] | [44;53] | [0;1] | [1100;1400] | [-8500;-6900] | [8;9] | [2;3] | [5500;6700] | [-8300;-6800] | [2;3] | NA | NA | 1 | 3
3.23 | Hydro-pumped storage in Bulgaria - Yadenitsa | 860 | [3;4] | [49;60] | 0 | [72;89] | [4;5] | [9000;11000] | 0 | [90;110] | [5;6] | [2300;2800] | 0 | [24;29] | [15;18] | [31000;38000] | 0 | [-52;-43] | NA | NA | 1 | 2
3.24 | Pumped Storage Complex with two independent upper reservoirs: Agios Georgios & Pyrgos | 590 | [1;2] | [34;41] | 0 | [49;60] | [3;4] | [6200;7600] | 0 | [62;75] | [3;4] | [1600;1900] | 0 | [17;20] | [10;13] | [21000;26000] | 0 | [-36;-29] | NA | NA | 2 | 3
4.6 | Muuga HPSPP is a 500 MW Hydro Pump-Storage Power plant that locates at Estonian North coast | 500 | [1;2] | 0 | [8100;9900] | [27;33] | [4;5] | [36000;44000] | [18000;22000] | [60;73] | [2;3] | [18000;22000] | [55000;67000] | [14;17] | [17;20] | [45000;55000] | [68000;84000] | [-41;-34] | NA | NA | 2 | 2
4.7 | Installation of 5th 225MW unit in Kruonis pump storage power plant | 225 | 0 | 0 | [4500;5500] | [8;9] | [3;4] | 0 | [3600;4400] | [21;26] | 0 | 0 | [14000;18000] | [9;11] | [8;9] | [18000;22000] | [18000;22000] | [-12;-9] | NA | NA | 2 | 2
none | Grid integration of 1000MW Hydro Pumped Storage Tarnita. | 1000 | [9;12] | [35000;43000] | [-47000;-39000] | [400;490] | [4;5] | [9900;12000] | [-21000;-17000] | [250;310] | [3;4] | [19000;23000] | [-200000;-170000] | [-46;-37] | [94;120] | [660000;800000] | [51000;62000] | [-550;-450] | NA | NA | 3 | 3
none | Li-ion battery based energy storage unit. Project promoter: Tisza Power Ltd. | 225 | 0 | 0 | [-1600;2600] | [15;18] | 0 | 0 | [-1600;2600] | [13;16] | 0 | 0 | [-11000;12000] | 0 | [0;1] | 0 | [-8200;9200] | [-5;-4] | NA | NA | 0 | 1
none | hydro-pumped storage in Austria | 313 | [0;1] | [0;1] | [-14000;-12000] | [44;53] | [1;2] | [83;100] | [-19000;-15000] | [33;40] | [0;1] | [1100;1300] | [-21000;-17000] | [8;9] | [2;3] | [5900;7200] | [-20000;-16000] | [2;3] | NA | NA | 2 | 3

## usefull information
Links:
ENTSO-E Cost Benefit Analysis Methodology
ENTSO-E 3rd party projects page
ENTSO-E TYNDP FAQ
ENTSO-E Scenario Outlook & Adequacy Forecasts 2014-2030
ENTSO-E TYNDP 2014 package
EC Projects of Common Interest List (PCI)
ENTSO-E TYNDP 2014 package - public consultation 10 July -20 September 2014